**RFP:** CESB Generator

**To:** All bidders

**Subject: Project Questions**

Proponents are advised that Addendum No. 2 is hereby issued. This Addendum will form part of the Request for Proposal.

1. **Questions and Answers received to date:**

**Question 1:** Is there a detailed specification sheet available for the genset?

**Answer:** There is no detailed specification sheet available.

**Question 2:** Could you please provide a single line diagram?

**Answer:** There is no single line diagram available.

**Question 3:** Do you have an on-site plan showing the genset location?

**Answer:** There is no on site plan available. A concrete pad is located on the east side of the building where the natural gas line is.

**Question 4:** Can you share site information such as altitude and ambient conditions?

**Answer:** The altitude is 597 m. The temperature typically varies from -6 °C to 29 °C and is rarely below -16 °C or above 34 °C.

**Question 5:** Are there any specific sound requirements?

**Answer:** Please provide noise reduction options as the location is in a residential neighbourhood.

**Question 6:** Do we need a 1200A or 1600A transfer switch?

**Answer:** 1200A

**Question 7:** Is an ATS bypass necessary?

**Answer:** No

**Question 8:** Where will the transfer switch be installed?

**Answer:** Inside the electrical room.

**Question 9:** Is the system voltage required 208V?

**Answer:** Yes

**Question 10:** When is the equipment required on site?

**Answer:** At the earliest possible date.

**Question 11:** Is there a preferred vendor recommended by the Town of Creston?

**Answer:** No

**Question 12:** Who will be responsible for installing the equipment?

**Answer:** This will be determined through a tender process.

End of Addendum 2.